WASTE INCINERATING PLANTS IN AUSTRIA

INCLUDING DATA ON WASTE MANAGEMENT IN VIENNA

1st edition

Herwig Schuster						Vienna, August 1999

1Waste incinerating plants in Austria	3

2Air pollution	4

2.1Air emissions of the Austrian incinerating plants	4

2.2Analyses of air pollutants	4

2.3Exceedings of emissions	4

3Scrubber water	5

4Solid wastes from burning plants	5

4.1Slag	5

4.2Filter ash	6

4.3Filter cake	6

5Dioxin emission factor	7

6Treatment of slag and filter ash	7

7Pollution control equipment	8

8Human resources	8

9Energetic output	8

10Economic parameters of waste incineration	9

11Avoiding and recycling	10

12Summary	12

13Sources	12

This inquiry shall give an overview about the Austrian waste incineration and waste management system. Its aim is to give figures but not a complete assessment. This inquiry was done on request from Greenpeace International to clarify the Austrian situation, because the Austrian incinerators are - especially in Southern European countries as well as in Asia – promoted as “positive examples for incinerators from Europe”.

As the results show the Austrian incinerators have - compared to other industrial sources - low water and air emissions but discharge of residues is an unsolved environmental problem. Besides, the costs for waste incineration are extremely high.

Waste incinerating plants in Austria

In Austria there are three incinerating plants for municipal solid waste:

Two in Vienna („Spittelau“ with a capacity of about 260.000 t/y and „Floetzersteig“ with about 200.000 t/y)

One in Wels (province of Upper Austria) with about 60.000 t/y

There are no other plants for municipal waste incineration but many plants burning special waste fractions (e.g. wooden or plastic waste fractions in cement industry) and industrial steam plants using internal waste. In Vienna there is also a hazardous waste incineration plant called „EbS“ with a capacity of 75.000 t/y.

The technical and environmental standard of the Austrian incinerators is similar to German or Swiss or to any other plant built in the 90ies according to the state of technique. Therefore the figures given in this report give hints for incineration in other countries.

Air pollution

Air emissions of the Austrian incinerating plants

The following table is based on industry figures. All figures are in mg/m³ refered to 11 % oxygen. This means that the emissions of a plant are calculated due to this oxygen concentration in waste gas. This prevents a mixing of waste gas with clean gas to “reduce” emissions and it allows a comparison between different plants. The mass flow refers to the plant „Spittelau“ with a waste turnover of 260.000 tons per year.

| Compound | Legal framework | „Floetzersteig“ | „Spittelau“ | Wels | Mass flow of „Spittelau“ |
| --- | --- | --- | --- | --- | --- |
| Dust | 15 | 2-2,9 | 0,8-2 | 1 | < 2900 kg/y |
| Hydogen chloride HCl | 10 | 0,5-1,9 | 0,5-0,7 | 0,1 | < 950 kg/y |
| Hydrogen fluoride HF | 0,7 | 0,04-0,13 | 0,03-0,04 | 0,1 | < 58 kg/y |
| Sulphur dioxide SO2 | 50 | 3,9-8,4 | 4-4,2 | 4 | < 5800 kg/y |
| Carbon monoxide CO | 50 | 13-19,6 | 21-22 | 15 | < 32000 kg/y |
| Nitrogen oxides NOx | 100 | 16-18,1 | 21 | 50 | < 32000 kg/y |
| Hydrocarbons | 20 | 0,4 | 0,5-0,6 | 0,1 | < 800 kg/y |
| Sum of Lead, Zinc and Chromium | 2 | 0,06-0,07 | 0,08 | n.n. | < 116 kg/y |
| Sum of Arsen, Nickel and Cobalt | 0,5 | 0,023-0,03 | 0,04-0,05 | n.n. | < 60 kg/y |
| Cadmium | 0,05 | 0,002-0,015 | 0,0005-0,0020 | 0,0002 | < 230 g/y |
| Mercury | 0,05 | 0,01-0,025 | 0,003-0,025 | 0,0009 | < 2,5 kg/y |
| Ammonia NH3 | 5 | 0,86 | n.n. | n.n. | < 1250 kg/y |
| Polychlorinated Dioxins and Furans in I-TEQ | 0,1 ng/m³ | 0,03-0,04 | 0,03 | 0,009 | < 43 mg/y |

Analyses of air pollutants

The following parameters are continually measured: Dust, HCl, SO2, NOx, CO, Hydrocarbons, NH3. All these parameters are on-line reported to the authority.

Polychlorinated Dioxins and Furans are analysed monthly.

Heavy metals and HF are analysed once a year.

Each analysis has to be made public, emissions exceeding allowed limits have to be communicated actively to the public on tables in front of the plant and of the Town Hall.

Exceedings of emissions

During the last years exceedings were limited to carbon monoxide (one short-time exceeding per plant and month, not more than 50 % over legal maximum) and nitrogen oxides (some minor short-time  exceedings a year).

The carbonmonoxide-exceedings occur if waste with a too high caloric value is burned (too much plastics).

Scrubber water

Quantity: 440 kg/t waste

Quality: the following table gives an overview of maximum legal emissions and real emissions of „Spittelau“ (all figures in mg/l). The mass flow refers to the plant „Spittelau“ with a turnover of 260.000 tons waste per year.

| parameter | legal em. | „Spittelau“ - concentration | Mass flow per year (kg/y) |
| --- | --- | --- | --- |
| filterable substances | 30 | 20-30 | 3,4 t/y |
| Al | 2 | 0,1-0,2 | 23 kg/y |
| As | 0,1 | <0,002 | 0,23 kg/y |
| Pb | 1 | 0,01 | 1,1 kg/y |
| Cd | 0,1 | <0,001 | 0,11 kg/y |
| Cr | 0,1 | <0,05 | 5,5 kg/y |
| Co | 0,5 | <0,05 | 5,5 kg/y |
| Fe | 2 | <0,05 | 5,5 kg/y |
| Cu | 1 | <0,05 | 5,5 kg/y |
| Ni | 2 | <0,05 | 5,5 kg/y |
| Hg | 0,01 | <0,001 | 0,11 kg/y |
| Ag | 0,1 | <0,05 | 5,5 kg/y |
| Zn | 3 | <0,05 | 5,5 kg/y |
| Sn | 0,5 | <0,02 | 2,2 kg/y |
| Cl | 18000 | 7500-11400 | 1.100 t/y |
| CN | 0,1 | <0,006 | 0,7 kg/y |
| F | 9 | 5,7-7,9 | 800 kg/y |
| TOC | 30 | 4,1-5,8 | 570 kg/y |
| Phenole-Index | 0,3 | 0,01 | 1,1 kg/y |
| PAK | nn | <0,13 ug | 15 g/y |
| EOX | 0,1 | <0,009 | 1 kg/y |
| POX | nn | <0,018 | 2 kg/y |
| Hydrocarbons | nn | <0,05 | 5,5 kg/y |
| Dioxins/Furans in I-TEQ | nn | 38 pg/l | 4 mg/y |

Solid wastes from burning plants

There are three different kinds of waste: Slag, Filter ash and Filter cake

Slag

Slag: 230 kg/t waste („Spittelau“) – 278 kg/t („Floetzersteig“) - 300 kg/t (Wels)

In Vienna, the slag gets mixed up with cement and water and is then used in landfill construction for border walls as  slag-filter ash concrete.

In Wels, most of the slag and all of the filter ash are landfilled in a landfill for residual waste. A small part of the slag is mixed with cement and used as a covering of a landfill.

Analyses of slag from „Spittelau“ (in mg/kg):

| Sb | As | Pb | Cd | Cl | Cr | F | Cu | Hg | Zn | Dioxins/Furans |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 49 | 15 | 2030 | 9 | 3000 | 312 | 300 | 1652 | 1 | 2000 | 2 ng I-TEQ/kg |

Filter ash

Filter ash: 15 kg/t waste („Floetzersteig“) – 19 kg/t („Spittelau“) - 55 kg/t (Wels)

In Vienna the filter ash is mixed with the slag and used in concrete (see above). This may be critical due to high contents of heavy metals and dioxins in filter ash.

The following table gives an overview of filter ash concentrations (all figures in mg/kg):

| Parameter | literature | Hinwil (CH) | Vienna | Mass flow of „Spittelau“ |
| --- | --- | --- | --- | --- |
| Zinc | 4700 | 37010 | 13400 | 67 t/y |
| Lead | 2000 | 10690 | 4200 | 21 t/y |
| Cadmium | 21 | 526 | 230 | 1,1 t/y |
| Mercury | 0,7 |
| 19 | 0,1 t/y |
| Chlorid | 2800 | 79500 | 71000 | 350 t/y |
| Chromium | 1200 |
| 470 | 2,3 t/y |
| Copper | 2100 | 1863 | 710 | 3,5 t/y |
| Antimony |
|  | 310 | 1,5 t/y |
| Arsenic |
|  | 14 | 70 kg/y |
| Dioxins/ Furans |
|  | 2160 ng I-TEQ/kg | 10,67 g/y |
| loss of ignition |
|  | 1.4 % |

Filter cake

Filter cake from treatment of scrubber water: 1,1 kg/t waste („Spittelau“) – 1,3 kg/t (“Floetzersteig”) - 3 kg/t (Wels)

The filter cake is disposed as hazardous waste, exported to Germany and there stored in a shut down salt mine in Heilbronn.

The PCDD/PCDF concentration is 495 ng/kg in average.

Dioxin emission factor

Example “Spittelau”:

Media				concentration (I-TEQ)		output per year

Air				0,03 ng/m³			      43 mg

Water				38 pg/l				        4 mg

Filter cake (water cleaning)	495 ng/kg			    141 mg

Slag				2 ng/kg			    115 mg

Filter ash			2160 ng/kg			10670 mg

Total dioxin production:					10973 mg = 10,973 g per year

Dioxin emission factor		= 42,2 microgram per ton waste

Treatment of slag and filter ash

In Vienna, slag and filter ash are mixed up with cement and used in landfill construction for border walls as a slag-filter ash concrete (“cementation”). There is no leaching of heavy metals nor destroying of organic pollutants.

The mixture is as follows:

slag		125.000 t

filter ash	  25.000 t

cement		  17.000 t

No additives are used.

This slag-filter ash concrete is used for border wall construction of Vienna´s landfill.

This kind of handling filter ashes is not state of the art. E.g. in Switzerland all filter ashes are landfilled as hazardous waste in disused salt mines. There is - also scientific - concern that heavy metals and organic pollutants (dioxins, PAHs,..) could leach from concrete. The cementation proceeding is intended only for the immobilisation of heavy metals, not for organics. In Vienna there are no analyses of leaching dioxins. Other analyses (of PAHs, phenols,...) are - in official datasheets - under detection limit but the used detection limit is very high.

According to an Austrian expert, slag-concrete will fall apart when coming into contact with sulphate-containing water (more than 300 mg/l sulphate in case of Portlandt-cement and more than 2000 mg/l in case of sulphate-resistance cement).

Pollution control equipment

The pollution control equipment is similar in each of the three Austrian plants:

Air cleaning:

Electrostatic precipitator for dust reduction

2-stage flue gas scrubber (for reduction of SO2, HCl, HF)

Fine dust separator

SCR-DeNOx-facility (based on selective catalytic reaction and ammonia)

The plant in Wels has an additionally activated carbon filter installed.

Water retreatment:

The heavy metal compounds dissolved in the scrubber water from the first scrubber are first converted into insoluble form in a precipitation reactor, by dosing lime slurry as well as special precipitation and flocculation agents (e.g. Ferrous sulphate FeSO4). Then the suspension is cleared in a chamber filter press. The filter cake with a water content of about 30 % is filled into big bags, the water is passed into the public scrubber water system or into the receiving water (e.g. „Spittelau“ into the river Danube).

Human resources

A high level of training is essential for the well-working of the plant. More than 80 people are employed in a plant, more than 80 % of them have a special training (electrician, electronic engineer, welder, technical engineer, chemist,...).

Energetic output

In the plants “Floetzersteig” and in Wels there are power-heat-combinations. At “Floetzersteig” 116 kWh electricity and 1.920 kWh heat are produced per ton waste input. Thereof 78 kWh electric and 40 kWh thermic are used by the plant itself.

Referred to an average caloric value of 8.200 kJ/kg waste and an additional input of about 20 kg gas per ton waste that means a total plant efficiency of 76 %.

Economic parameters of waste incineration

The following figures refer to the plants in Vienna (with a capacity of 200.000-250.000 tons a year). The cost structure may be different at other smaller or larger incinerators.

Fees for waste take-over:

Waste from municipal waste disposal:			           116 EUR

Waste from private companies:				           218 EUR

Total investment cost:					182.000.000 EUR at minimum

Two thirds are due to environmental technique (air and water cleaning, burning optimization)

Cost structure (own calculation due to plant´s figures) per year:

Output:

Pay-back of investment (interest: 7 %, 15 years)		15.100.000 EUR

New investments (adaptation to the level of technique)	  3.600.000 EUR

Personal costs						  3.500.000 EUR

Other fix costs (assurance, measures, maintainance,..)	  2.300.000 EUR

Variable costs						  4.400.000 EUR

thereof:	gas:							1.600.000 EUR

disposal of slag/ash					1.500.000 EUR

disposal of filter cake (export)				   340.000 EUR

chemicals (lime, soda lye, ammonia, precipitation agents)	   440.000 EUR

All others						   520.000 EUR

Total sum of costs per year				28.900.000 EUR

Input:

Heat output						  4.000.000 EUR

Electricity output						     300.000 EUR

Total sum of input costs per year				  4.300.000 EUR

Money need per year					24.600.000 EUR

Costs per ton waste					            123 EUR

All waste treatment plants in Vienna are owned by the City of Vienna. Thus there is a direct tax money flow to the plants to prevent losses.

Avoiding and recycling

Vienna´s incinerators are case study examples frequently used by technology companies to sell incineration technique to developing countries like the Philippines.

The Austrian Federal Waste Law implements the following waste strategy:

First avoid, then recycle, then dispose.

Only in the third level disposal fits in. Therefore the Vienna municipal waste management system is described in the following chapter. For many years now steps have been taken to avoid waste and to separate different types of waste (e.g. glass, paper) with quite high efficiency.

Example Vienna:

The total production of municipal solid waste in Vienna is 844.400 t, 38 % of them are collected separately.

The following fractions are collected separately: glass (white and coloured), metals, paper/cardboard, packagings plastics and organic waste. In special centers some other fractions are collected (e.g. wood, textiles). The given figures only refer to household and household-like waste, not to industrial waste.

In 1998 the following amounts were collected and recycled:

Paper and cardboard			127.000 t

Organic waste				  83.000 t for composting

Metals					  28.000 t

Glass					  23.700 t

Plastics				    6.700 t for material or “thermal” recycling

Sum of these 5 fractions		268.400 t for material recycling

Other fractions (wood, textiles,

tyres, electronics...		)	  76.000 t for “energetic” use or downcycle

All together				344.400 t are separately collected in Vienna each year

Waste for disposal:

Municipal waste			470.000 t  collected by the City of Vienna

Container waste from markets,...	  30.000 t

Others					  40.000 t  e.g. collected by private companies

All together				540.000 t

429.000 t go to „Floetzersteig“ and „Spittelau“

3.000 t go to other burning plants (special waste)

108.000 t go to landfill

Besides there is a well-working collection of hazardous wastes via disposal centers (batteries, mineral oils, used vegetable oils (for soap production), chemicals,..). 3.160 tons are treated separately  each year.

In Vienna 38 % of all wastes are collected and recycled separately.

The following table gives mass concentrations of Vienna´s municipal solid waste (not regarding waste separation):

Organic waste				31,55 %

Paper and cardboard			23,75 %

Glass					5,87 %

Metals					4,79 %

Plastics /without compounds		5,35 %

Compounds (Paper, plastics, alu)	4,38 %

Wood, leather, rubber			5,06 %

Textiles				1,92 %

Rest all others

The following table gives mass concentrations of Vienna´s municipal solid waste (after waste separation = input for waste incineration):

Organic waste				37,71 %

Paper and cardboard			15,92 %

Glass					4,88 %

Metals					3,00 %

Plastics /without compounds		8,16 %

Compounds (Paper, plastics, alu)	7,62 %

Wood, leather, rubber			4,29%

Textiles				3,02 %

Rest all others

Regarding the single fractions the following percentage is recycled:

Metals	92 % (63 % directly, 29 % separating in incinerating plants)

Paper			60 %

Glass			47 %

Organic waste		29 %

Plastics		13 %

These figures are significantly higher in other parts of Austria. The smaller the town the better the recycling percentage (paper up to 85 %, glass up to 90 % and organic waste up to 50 %). Due to high contaminations with other waste and heavy metals the collection of organic waste cannot be increased in highly populated areas.

Summary

According to the waste management principle “avoiding-recycling-disposing” the waste separation and recycling in Austria is quite consequent. Waste separation is obligatory in Austria. Currently Vienna´s recycling rate is about 38 %, and this amount could still be higher by optimizing the collecting system especially for organic waste and plastics. A recycling rate of 50 % may be realized.

The Austrian incinerating plants have a high environmental standard as far as air and water emissions are concerned. Compared to other sources (industry, traffic,...) air and water emissions are relatively low.

Ecologically critical is the disposal of solid wastes from incinerating plants. Especially the filter ash from air cleaning is containing large amounts of dioxins and furans and toxic heavy metals. In Vienna this ash is mixed up with cement and used as slag concrete in landfill construction. As the Austrian Waste Management Act only defines leaching criteria for disposal this practice  is legal but critical due to future dioxin emissions out of the concrete.

Sources

Austrian Environmental Agency, www.ubavie.gv.at

City of Vienna, waste management department (MA 48), annual report 1998 and telephone information

Fernwaerme Wien, incinerator operator, companies publications and information from personal communications with „Floetzersteig“ and „Spittelau“

WAV Wels, waste incineration company, personal communication and data

Thomé-Kozmiensky, Technologie der Abfallbehandlung, 1998

www.ctu.ch

www.lua.nrw.de

Greenpeace Austria

Siebenbrunnengasse 44

A-1050 Vienna

phone: ++43/1/5454580

fax: ++43/1/5454588

http://www.greenpeace.at

# Footnotes

metric tons

The Austrian incineration plants operate under Clean Air Act emission limits. Only for „Floetzersteig“ there are some parameters less restrictive due to former approval

not more than 20 minutes

Thomé-Kozmiensky, Technologie der Abfallbehandlung

1 EUR = 13,7603 ATS